## Slide 1
Feasibility of Beam Reinforcement Optimization for Practical Application
Advisor : Prof. K.C.Chang
Presenters : You-Ran Nai
Notes: Try 講清楚脈絡

## Slide 2
Outline
Part 1
Objective
Part 2
Methodology
Part 3
Condition
Part 4
Seismic Verification

## Slide 3
REDUCE REBAR
Real
Demand
梁用鋼量圖
- Tradition
- Multi-Cut-2
Top Rebar
Bottom Rebar
10-#10
3-#10
12-#10
7-#8
12-#8
9-#8
Notes: LowSeismic4Floor12M 0

## Slide 4
REDUCE REBAR
Real
Demand
梁用鋼量圖
- Tradition
- Multi-Cut-2
Top Rebar
Bottom Rebar
10-#10
3-#10
12-#10
7-#8
12-#8
9-#8
Notes: LowSeismic4Floor12M 0

## Slide 5
Today’s Solution
Fixed Bar-Cut
- Demand As
- Design As
Top Rebar
Bottom Rebar
10-#10
3-#10
12-#10
10-#8
12-#8
9-#8
Notes: LowSeismic4Floor12M 0

## Slide 6
Tradition
- Demand As
- Design As
Top Rebar
Bottom Rebar
Notes: 欣銓 1140

## Slide 7
Outline
Part 1
Objective
Part 2
Algorithm
Part 3
Condition
Part 4
Seismic Verification

## Slide 8
Mu
Consider Hundreds Of Combo Demand
Catch Critical Demand Combo
Length(m)
Length(m)

## Slide 9
Flexural Reinforcement
Min: 2 Rebar
- Demand As
Notes: LowSeismic 4Floor 12M 0

## Slide 10
MIN
Simplified Provisions
General Development Length Equation
- Demand As
- After Consider Ld As
Ld
Top
Bottom
Notes: LowSeismic 4Floor 12M 0

## Slide 11
Combinations
- Consider Ld
- Consider Ld
Multi-Cut-4
Multi-Cut-2
0.1
0.9
Ln
Ln
Top
Bottom
Notes: GA 演算法
LowSeismic 4Floor 12M 4
LowSeismic 4Floor 12M 0

## Slide 12
- Demand As
- Consider Ld As
- Design As
傳統梁鋼筋配置圖
Multi-Cut-2
多點斷筋梁鋼筋配置示意圖
Notes: LowSeismic 4Floor 12M 0

## Slide 14
Vu
Notes: LowSeismic4Floor12M 0

## Slide 15
Shear Reinforcement
- Vu
- Vs
Notes: LowSeismic4Floor12M 0

## Slide 16
- Design Av
- Demand
- Consider Vc
梁剪力鋼筋配置示意圖
Notes: LowSeismic4Floor12M 0

## Slide 17
Outline
Part 1
Objective
Part 2
Algorithm
Part 3
Condition
Part 4
Seismic Verification

## Slide 18
Multi-Cut-2 vs Tradition
- Tradition
Multi-Cut-2 82%
Multi-Cut-2 91%
- Tradition
- Multi-Cut-2
- Consider Ld
Length(cm)
Length(cm)
As(cm2)
As(cm2)
Top
Bottom
- Consider Ld
Notes: 傳統不經濟
828
傳統不保守 不符合 混凝土結構設計規範 401-100 R5.11.2
1140

## Slide 19
Factor
- Demand
- Multi-Cut-2
- Tradition
Consider Ld
Moment
Tradition

## Slide 20
Short Development Length
Ld
Beam Length
- Consider Ld
- Demand
- Consider Ld
- Demand
Ld
Notes: LowSeismic4Floor12M 0

## Slide 21
Moment Decay
- Moment Demand As
- Moment Demand As
Large Slope
Small Slope
Notes: LowSeismic4Floor12M 0

## Slide 22
Gravity Load
Lateral Load
Moment Diagram
Lateral
Force
Gravity Load

## Slide 23
Moment Decay
Beam Length
Lateral
Force
Gravity Load
Story Height

## Slide 24
22 Models
4.5m
4m
Notes: LowSeismic4Floor12M 0

## Slide 25
99.6%
94.2%
92.1%
98.1%
94.5%
90.4%
High Seismic
Low Seismic
Result
6m
9m
12m
Middle Seismic
99.6%
95.3%
91.0%
Beam Length
Site

## Slide 26
Low Seismic
98.1%
94.5%
90.4%
High Seismic
99.6%
94.2%
92.1%
Result
6m
9m
12m
Middle Seismic
99.6%
95.3%
91.0%
Beam Length
Site

## Slide 27
Top Story
97.8%
93.7%
89.8%
Story Result
6m
9m
12m
Bottom Story
100.2%
95.5%
92.3%
Beam Length

## Slide 28
Low Seismic
96.0%
99.4%
96.5%
Bottom Result
6m
9m
12m
Middle Seismic
91.9%
94.3%
97.2%
High Seismic
97.2%
89.0%
95.1%
Beam Length
Site

## Slide 29
Why?
High Seismic
Low Seismic
Small Gravity 89%
Large Gravity 99%
Bottom
- Demand
- Multi-Cut-2
- Tradition
- Demand
- Multi-Cut-2
- Tradition
6-#8
5-#8
6-#8
7-#8
6-#8
5-#8
Notes: HighSeismic 4Floor 9M 12
LowSeismic 4Floor 9M 12

## Slide 30
#8 => #10
Low Seismic
97.8%
101.7%
101.2%
6m
9m
12m
Middle Seismic
97.5%
100.5%
100.0%
High Seismic
98.9%
102.2%
99.4%
Site
2.54cm => 3.22cm

## Slide 31
- Multi-Cut-2, #8
- Multi-Cut-2, #10
- Tradition, #10
- Tradition, #8
- Multi-Cut-2, #8
- Multi-Cut-2, #10
- Tradition, #10
- Tradition, #8
Notes: MidSeismic 4Floor 6M 0
HighSeismic 4Floor 12M 12

## Slide 32
20
99.2%
93.6%
97.0%
4
96.0%
94.3%
95.3%
Stories Result
Top
Bottom
Total
12
95.3%
91.5%
93.8%
Stories

## Slide 33
Low Seismic
93.3%
94.1%
94.5%
Stirrups Result
6m
9m
12m
Middle Seismic
96.6%
94.4%
87.0%
High Seismic
101.4%
92.0%
90.2%
Beam Length
Site

## Slide 34
High Seismic 6m
High Seismic 9m
High Seismic 12m
Mid Seismic 6m
Mid Seismic 9m
Mid Seismic 12m
Notes: LowSeismic 4Floor 12M 0

## Slide 35
Mid Seismic 6m
Mid Seismic 9m
Mid Seismic 12m
Low Seismic 6m
Low Seismic 9m
Low Seismic 12m

## Slide 36
5
More Multi-Cut
2
3
4
Unlimited
Notes: 理論最佳解

## Slide 37
30m
20m
14F B3
TOP RESULT
OVERALL RESULT
BOT RESULT
100.0%
101.3%
98.5%
台北住宅案
Notes: 由於很複雜，先記得最終的結果
400

## Slide 38
台北住宅案

## Slide 39
TOP RESULT
OVERALL RESULT
BOT RESULT
77m
153m
9F B1
93.4%
92.3%
94.7%
高雄物流中心
Notes: 3500

## Slide 40
高雄物流中心

## Slide 41
Material Cost
Reduced Percentage
資料來源: 公共工程價格資料庫 2019
Material Cost
Tradition
Multi-Cut

## Slide 42
Construction Cost
Tradition
Multi-Cut
鋼筋綁紮工資
資料來源: 台北市公共工程 2019
複雜度增加 => 鋼筋綁紮工資增加

## Slide 43
Cost Analysis
Tradition
Multi-Cut
Material Cost
Construction Cost
Total Cost

## Slide 44
Cost Analysis
Tradition
Multi-Cut-2
Material Cost
Construction Cost
Total Cost
Multi-Cut-2

## Slide 45
Outline
Part 1
Objective
Part 2
Algorithm
Part 3
Condition
Part 4
Seismic Verification

## Slide 46
Consider Ld
10-#10
3-#10
12-#10
7-#8
12-#8
9-#8
10-#10
3-#10
12-#10
7-#8
12-#8
9-#8
Top
Bottom

## Slide 47
Pushover Method
Multi-Modes Combination
SRSS
ATC-40 Capacity Spectrum
Modal Pushover Analysis
Mode Shape
Effective Mass
Notes: 定義非線性驗證的邊界

## Slide 48
ATC-40 Capacity Spectrum
Tradition
Multi-Cut-2
Notes: Low Seismic 12m 90.4%

## Slide 49
Modal Pushover Analysis - Tradition
Mode 1
Mode 2

## Slide 50
Modal Pushover Analysis – Multi-Cut
Mode 1
Mode 2

## Slide 51
Multi-Cut-2
Tradition
Modal Pushover Analysis - SRSS

## Slide 52
Multi-Modes Combination
Multi-Cut-2
Tradition

## Slide 53
Step 2
Step 3
Step 5
Step 7

## Slide 54
Gravity Load
Forth Hinge
+
Gravity Load
Lateral Load

## Slide 55
Without Gravity Load
First Hinge

## Slide 56
Time History Analysis
Scaled to DBE, MCE
Story Drift
DBE < 1.5%
MCE < 2%
- Time History Spectrum
- DBE Spectrum
- MCE Spectrum

## Slide 57
DBE < 1.5%
Tradition
Multi-Cut-2
Low Seismic 12m 90.4%

## Slide 58
MCE < 2.0%
Tradition
Multi-Cut-2
Low Seismic 12m 90.4%

## Slide 59
Tradition DBE
Multi-Cut-2 DBE
Tradition MCE
Multi-Cut-2 MCE
換圖
Notes: DBE 1602 11.5
MCE 1116 15.5

## Slide 61
Incremental Dynamic Analysis
Single Time History Analysis
Incremental One
Single Static Analysis
Incremental SPO



## Slide 62
Non-Linear SPO
Elastic
Non-Negative

Equal Displacement
Negative
Softening


Match

## Slide 63
Pushover and IDA too much difference

## Slide 64
Another way IM: Base Shear

## Slide 65
SF: 0.5
SF: 2.5
SF: 4.5
SF: 6.5
SF: 8.5
SF: 10

## Slide 66
Result

## Slide 67
Limit-State
4% FEMA273
2.5% SEAOC2000

## Slide 68
IDA
Low Seismic 12m 90.4%
Log

## Slide 69
Conclusion
Objective
Reduce Rebar
Condition
Long Span
Low Seismic
Construction
Today or Future Cost
Verification
Capacity Close To Tradition