## Slide 1
Feasibility of Beam Reinforcement Optimization for Practical Application
Advisor : Prof. K.C.Chang
Presenters : You-Ran Nai
Notes: Try 講清楚脈絡

## Slide 2
Outline
Part 1
Objective
Part 2
Methodology
Part 3
Condition
Part 4
Seismic Verification

## Slide 3
REDUCE REBAR
Real
Demand
Top
Bottom
10-#10
3-#10
12-#10
7-#8
12-#8
9-#8
Fix
Length
Notes: 用最有感覺的圖

## Slide 4
Today’s Solution
Fixed Cut-Off
10-#10
3-#10
12-#10
10-#8
12-#8
9-#8
Notes: LowSeismic4Floor12M 0

## Slide 5
Today’s Solution
Notes: 欣銓 1140

## Slide 6
Outline
Part 1
Objective
Part 2
Methodology
- Flexural
- Shear
Part 3
Condition
Part 4
Seismic Verification

## Slide 7
Design Moment - Mu
(1) U=1.4D
(2) U=1.2D + 1.6L
(3) U=1.2D + (1.0L or 0.5L)
(4) U=1.2D + 1.6W + (1.0L or 0.5L)
(5) U=1.2D + 1.0E + (1.0L or 0.5L)
(6) U=0.9D + 1.6W
(7) U=0.9D + 1.0E

## Slide 8
Flexural Reinforcement
Minimum Reinforcement
- Demand As
(Etabs Manual, 2017)
Notes: LowSeismic 4Floor 12M 0

## Slide 9
Procedure A – Effect
(混凝土結構設計規範, 2019)

## Slide 10
Procedure B - Fast

## Slide 11
Multi-Cut
Top
Bottom
Multi-Cut-2
Multi-Cut-4
Notes: GA 演算法
LowSeismic 4Floor 12M 4
LowSeismic 4Floor 12M 0

## Slide 12
現行鋼筋配置示意圖
最佳化鋼筋配置示意圖
Notes: 同第三頁的圖
這個可以仔細想想

## Slide 14
Design Shear - Vu
Notes: LowSeismic4Floor12M 0

## Slide 15
Shear Reinforcement
5.11.5
Notes: LowSeismic4Floor12M 0

## Slide 16
Shear Reinforcement
2#4@10
2#4@10
#4@10
2#4@18
Notes: LowSeismic4Floor12M 0

## Slide 17
Outline
Part 1
Objective
Part 2
Methodology
Part 3
Condition
- Flexural
Part 4
Seismic Verification

## Slide 18
Optimization vs Convention
10-#10
3-#10
12-#10
19-#8
12-#8
9-#8
19-#8
6-#8
7-#8
10-#8
10-#8
7-#8
102%
103%
78%
94%
Notes: 同第3頁

## Slide 19
Factors
Convention

## Slide 20
Small Slope
Moment Slope Large
Large Slope
Notes: LowSeismic4Floor12M 0

## Slide 21
Small Slope
Large Slope
Gravity Load
Lateral Load
Moment Diagram

## Slide 22
Moment Slope Large
Large Slope

## Slide 23
Short
Development Length
Notes: LowSeismic4Floor12M 0

## Slide 24
20 Models
4.5m
4m
Notes: LowSeismic4Floor12M 0

## Slide 25
Top Reinforcement
Chart: 
| 6m | 9m | 12m
High Seismic | 0.968 | 0.921 | 0.901
Middle Seismic | 0.924 | 0.883 | 0.879
Low Seismic | 0.875 | 0.847 | 0.827

## Slide 26
Bottom Reinforcement
Chart: 
| 6m | 9m | 12m
High Seismic | 0.979 | 0.934 | 0.968
Middle Seismic | 0.938 | 0.962 | 0.978
Low Seismic | 0.965 | 0.988 | 0.963

## Slide 27
Middle More Than End
8-#8
9-#8
7-#8
6%
2%
10-#8
9-#8
12-#8

## Slide 28
Middle Less Than End
6-#8
8-#8
8-#8
6-#8
7-#8
7-#8
4%
4%
7%
7%

## Slide 29
Total Reinforcement
Chart: 
| 6m | 9m | 12m
High Seismic | 0.972 | 0.926 | 0.927
Middle Seismic | 0.93 | 0.913 | 0.918
Low Seismic | 0.91 | 0.903 | 0.884

## Slide 30
Chart: 
| 6m | 9m | 12m
High Seismic | -0.03795 | 0.0069084 | -0.011854
Middle Seismic | -0.047326 | 0.002925 | -0.0092455
Low Seismic | -0.012246 | 0.00094918 | 0.0015234
#8 => #10 Reinforcement

## Slide 31
Convention Increase
7%
13%
13%

## Slide 32
Different Stories Reinforcement
Chart: 
| Top | Bottom | Total
4 | 0.883 | 0.962 | 0.913
12 | 0.9539 | 0.95424 | 0.95402
20 | 0.99635 | 0.96947 | 0.98561

## Slide 33
102%
103%
Convention Does Not
Meet Specifications

## Slide 34
More Multi-Cut
Chart: 
| 2 | 3 | 4 | 無限制
Worst | 0.972 | 0.96 | 0.95 | 0.933
Mid | 0.913 | 0.877 | 0.847 | 0.838
Best | 0.884 | 0.854 | 0.831 | 0.769
Notes: 理論最佳解

## Slide 35
Shear Reinforcement
Chart: 
| 6m | 9m | 12m
High Seismic | 0.969 | 0.98362 | 0.95456
Middle Seismic | 0.95823 | 0.96637 | 0.96883
Low Seismic | 0.95845 | 0.96931 | 0.97593

## Slide 36
30m
20m
14F B3
99.6%
台北住宅案
High Seismic
Beam Length = 5, 6m
Notes: 由於很複雜，先記得最終的結果
400

## Slide 37
94.3%
77m
153m
9F B1
高雄物流中心
Low Seismic
Beam Length = 8, 10m
Notes: 3500

## Slide 38
Material Cost
Reduced Percentage (Multi-Cut-4)
資料來源: 公共工程價格資料庫 2019
Material Cost
Convention
Optimization

## Slide 39
Construction Cost
Convention
Optimization
鋼筋綁紮工資
複雜度增加 => 鋼筋綁紮工資增加
資料來源: 公共工程價格資料庫 2019

## Slide 40
Cost Analysis
Convention
Optimization-Cut-4
Material Cost
Construction Cost
Total Cost

## Slide 41
Cost Analysis
Convention
Optimization-Cut-2
Material Cost
Construction Cost
Total Cost

## Slide 42
Outline
Part 1
Objective
Part 2
Methodology
Part 3
Condition
Part 4
Seismic Verification

## Slide 43
10-#10
3-#10
12-#10
7-#8
12-#8
9-#8
Consider Ld
10-#10
3-#10
12-#10
7-#8
12-#8
9-#8

## Slide 44
Capacity Spectrum Method
Pushover Methods
Modal Pushover Analysis
Multi-Modes Combination
Mode Shape
Effective Mass
Chart: 
| 1 | 0.83840175705355646 | 0.58033451596553476 | 0.26365306639635078 | 0
Mode 1 | 16.5 | 12.5 | 8.5 | 4.5 | 0
Mode 2 | 16.5 | 12.5 | 8.5 | 4.5 | 0
Mode 3 | 16.5 | 12.5 | 8.5 | 4.5 | 0
(ATC-40, 1996)
(Chopra & Goel, 2001)
(Kunnath, 2004)

## Slide 45
Capacity Spectrum Method
Notes: Low Seismic 12m 90.4%

## Slide 46
Modal Pushover Analysis – Mode1

## Slide 47
Modal Pushover Analysis – Mode2

## Slide 48
Multi-Modes Combination

## Slide 49
Step 2
Step 3
Step 5
Step 6

## Slide 50
Gravity Load
Forth Hinge
+
Gravity Load
Lateral Load

## Slide 51
Time History Analysis
Scaled to DBE, MCE
Story Drift
DBE < 1.5%
MCE < 2%

## Slide 52
DBE < 1.5%

## Slide 53
MCE < 2.0%

## Slide 54
Convention DBE
Optimization DBE
Convention MCE
Optimization MCE
Notes: DBE 1602 11.5
MCE 1116 15.5

## Slide 55
Incremental Dynamic Analysis
4% FEMA273
(Vamvatsikos & Cornell, 2002)

## Slide 56
Incremental Dynamic Analysis

## Slide 57
Elastic
Non-Negative
Equal displacement
Negative
Softening
Match
(Vamvatsikos & Cornell, 2002)

## Slide 58
Pushover IDA Difference

## Slide 59
Capacity Spectrum Method

## Slide 61
IM
Base Shear

## Slide 62
Nonlinear Analysis
Sa (T1, 5%) | 50%
High Seismic, 4 | 1.02
Mid Seismic, 4 | 1.10
Low Seismic, 4 | 1.00
Mid Seismic, 12 | 1.02
Mid Seismic, 20 | 1.00
Sa (T1, 5%) | Convention |  |  | Optimization |  | 
 | 16% | 50% | 84% | 16% | 50% | 84%
High Seismic, 4 | 3.00 | 2.65 | 1.99 | 3.00 | 2.70 | 2.03
Mid Seismic, 4 | 1.80 | 1.00 | 0.80 | 1.80 | 1.10 | 0.80
Low Seismic, 4 | 1.30 | 1.10 | 0.70 | 1.30 | 1.10 | 0.75
Mid Seismic, 12 | 1.44 | 0.92 | 0.50 | 1.50 | 0.94 | 0.50
Mid Seismic, 20 | 1.33 | 0.81 | 0.51 | 1.28 | 0.81 | 0.57
Story Drift, Median | DBE | MCE
High Seismic, 4 | 1.00 | 1.00
Mid Seismic, 4 | 1.00 | 1.01
Low Seismic, 4 | 1.00 | 1.00
Mid Seismic, 12 | 1.00 | 1.00
Mid Seismic, 20 | 1.00 | 1.00
Story Drift | DBE |  |  |  | MCE |  |  | 
 | Convention |  | Optimization |  | Convention |  | Optimization | 
 | Median | Mean | Median | Mean | Median | Mean | Median | Mean
High Seismic, 4 | 0.98% | 1.04% | 0.98% | 1.04% | 1.28% | 1.35% | 1.28% | 1.35%
Mid Seismic, 4 | 1.22% | 1.17% | 1.22% | 1.17% | 1.26% | 1.27% | 1.27% | 1.27%
Low Seismic, 4 | 0.72% | 0.71% | 0.72% | 0.71% | 0.89% | 0.91% | 0.89% | 0.91%
Mid Seismic, 12 | 0.92% | 0.89% | 0.92% | 0.89% | 1.02% | 0.98% | 1.02% | 0.98%
Mid Seismic, 20 | 1.21% | 1.16% | 1.21% | 1.16% | 1.40% | 1.32% | 1.40% | 1.32%
MPA | Ra | R
High Seismic, 4 | 1.03 | 1.03
Mid Seismic, 4 | 0.99 | 0.99
Low Seismic, 4 | 0.99 | 1.01
Mid Seismic, 12 | 1.05 | 1.05
Mid Seismic, 20 | 0.99 | 1.00
 | ATC-40 |  |  |  | Modal Pushover Analysis |  |  |  | Multi-Modes Combination |  |  | 
 | Convention |  | Optimization |  | Convention |  | Optimization |  | Convention |  | Optimization | 
 | Ra | R | Ra | R | Ra | R | Ra | R | Ra | R | Ra | R
High Seismic, 4 | 2.73 | 3.42 | 2.81 | 3.53 | 2.74 | 3.43 | 2.82 | 3.54 | 2.71 | - | 2.92 | -
Mid Seismic, 4 | 1.35 | 1.52 | 1.34 | 1.51 | 1.41 | 1.59 | 1.4 | 1.58 | - | - | - | -
Low Seismic, 4 | 1.24 | 1.66 | 1.25 | 1.66 | 1.28 | 1.7 | 1.27 | 1.71 | 1.40 | 1.78 | 1.38 | 1.76
Mid Seismic, 12 | 1.92 | 2.28 | 2.08 | 2.44 | 2.20 | 2.58 | 2.32 | 2.72 | - | - | 2.13 | 2.49
Mid Seismic, 20 | 1.44 | 1.63 | 1.50 | 1.71 | 1.88 | 2.11 | 1.87 | 2.10 | 2.00 | 2.33 | 2.03 | 2.37

## Slide 63
Objective
Reduce Rebar
Methodology
- Flexural
- Shear
Effect
- Flexural 8%
- Shear 3%
Cost
Today or Future Cost
Condition
- Lateral Load
- Beam Length
- Ld
- d
Capacity
Close to Convention
Conclusion

## Slide 64
Procedure A
MIN
Simplified Provisions
General Development Length Equation