## Slide 1
Feasibility of Beam Reinforcement Optimization for Practical Application
Advisor : Prof. K.C.Chang
Presenters : You-Ran Nai
Notes: Try 講清楚脈絡

## Slide 2
Outline
Part 1
Objective
Part 2
Methodology
Part 3
Condition
Part 4
Seismic Verification

## Slide 3
REDUCE REBAR
Real
Demand
Top
Bottom
10-#10
3-#10
12-#10
7-#8
12-#8
9-#8
Notes: 用最有感覺的圖

## Slide 4
Today’s Solution
Fixed Bar-Cut
10-#10
3-#10
12-#10
10-#8
12-#8
9-#8
Notes: LowSeismic4Floor12M 0

## Slide 5
Today’s Solution
Notes: 欣銓 1140

## Slide 6
Outline
Part 1
Objective
Part 2
Methodology
- Flexural
- Shear
Part 3
Condition
Part 4
Seismic Verification

## Slide 7
Design Moment - Mu
(1) U=1.4D
(2) U=1.2D + 1.6L
(3) U=1.2D + (1.0L or 0.5L)
(4) U=1.2D + 1.6W + (1.0L or 0.5L)
(5) U=1.2D + 1.0E + (1.0L or 0.5L)
(6) U=0.9D + 1.6W
(7) U=0.9D + 1.0E

## Slide 8
Flexural Reinforcement
Minimum Reinforcement
- Demand As
Notes: LowSeismic 4Floor 12M 0

## Slide 9
Procedure A – Effect

## Slide 10
Procedure B - Fast

## Slide 11
Multi-Cut
Top
Bottom
Multi-Cut-2
Multi-Cut-4
Notes: GA 演算法
LowSeismic 4Floor 12M 4
LowSeismic 4Floor 12M 0

## Slide 12
傳統梁鋼筋配置圖
最佳化梁鋼筋配置示意圖
Notes: 同第三頁的圖
這個可以仔細想想

## Slide 14
Design Shear - Vu
Notes: LowSeismic4Floor12M 0

## Slide 15
Shear Reinforcement
5.11.5
Notes: LowSeismic4Floor12M 0

## Slide 16
Shear Reinforcement
Notes: LowSeismic4Floor12M 0

## Slide 17
Outline
Part 1
Objective
Part 2
Methodology
Part 3
Condition
Part 4
Seismic Verification

## Slide 18
Optimization vs Tradition
10-#10
3-#10
12-#10
19-#8
12-#8
9-#8
19-#8
6-#8
7-#8
10-#8
10-#8
7-#8
102%
103%
78%
94%
Notes: 同第3頁

## Slide 19
Factors
Tradition

## Slide 20
Small Slope
Moment Slope Large
Large Slope
Notes: LowSeismic4Floor12M 0

## Slide 21
Small Slope
Large Slope
Gravity Load
Lateral Load
Moment Diagram

## Slide 22
Moment Slope Large
Large Slope

## Slide 23
Short
Development Length
Notes: LowSeismic4Floor12M 0

## Slide 24
20 Models
4.5m
4m
Notes: LowSeismic4Floor12M 0

## Slide 25
Top Reinforcement
Chart: 
| 6m | 9m | 12m
High Seismic | 0.968 | 0.921 | 0.901
Middle Seismic | 0.924 | 0.883 | 0.879
Low Seismic | 0.875 | 0.847 | 0.827

## Slide 26
Bottom Reinforcement
Chart: 
| 6m | 9m | 12m
High Seismic | 0.979 | 0.934 | 0.968
Middle Seismic | 0.938 | 0.962 | 0.978
Low Seismic | 0.965 | 0.988 | 0.963

## Slide 27
Middle Less Than End
6-#8
8-#8
8-#8
6-#8
7-#8
7-#8
4%
4%
7%
7%

## Slide 28
Middle More Than End
8-#8
9-#8
7-#8
6%
2%
10-#8
9-#8
12-#8

## Slide 29
Total Reinforcement
Chart: 
| 6m | 9m | 12m
High Seismic | 0.972 | 0.926 | 0.927
Middle Seismic | 0.93 | 0.913 | 0.918
Low Seismic | 0.91 | 0.903 | 0.884

## Slide 30
Chart: 
| 6m | 9m | 12m
High Seismic | -0.03795 | 0.0069084 | -0.011854
Middle Seismic | -0.047326 | 0.002925 | -0.0092455
Low Seismic | -0.012246 | 0.00094918 | 0.0015234
#8 => #10 Reinforcement

## Slide 31
Tradition Increase
7%
13%
13%

## Slide 32
Different Stories Reinforcement
Chart: 
| Top | Bottom | Total
4 | 0.883 | 0.962 | 0.913
12 | 0.9539 | 0.95424 | 0.95402
20 | 0.99635 | 0.96947 | 0.98561

## Slide 33
102%
103%
Tradition Does Not
Meet Specifications

## Slide 34
Shear Reinforcement
Chart: 
| 6m | 9m | 12m
High Seismic | 0.969 | 0.98362 | 0.95456
Middle Seismic | 0.95823 | 0.96637 | 0.96883
Low Seismic | 0.95845 | 0.96931 | 0.97593

## Slide 35
More Multi-Cut
Chart: 
| 2 | 3 | 4 | 無限制
High Seismic | 0.972 | 0.96 | 0.95 | 0.933
Middle Seismic | 0.913 | 0.877 | 0.847 | 0.838
Low Seismic | 0.884 | 0.854 | 0.831 | 0.769
Notes: 理論最佳解

## Slide 36
30m
20m
14F B3
99.6%
台北住宅案
High Seismic
Beam Length = 5, 6m
Notes: 由於很複雜，先記得最終的結果
400

## Slide 37
94.3%
77m
153m
9F B1
高雄物流中心
Middle Seismic
Beam Length = 8, 10m
Notes: 3500

## Slide 38
Material Cost
Reduced Percentage (Multi-Cut-4)
資料來源: 公共工程價格資料庫 2019
Material Cost
Tradition
Optimization

## Slide 39
Construction Cost
資料來源: 公共工程價格資料庫 2019
Tradition
Optimization
鋼筋綁紮工資
複雜度增加 => 鋼筋綁紮工資增加

## Slide 40
Cost Analysis
Tradition
Optimization-Multi-Cut-4
Material Cost
Construction Cost
Total Cost

## Slide 41
Cost Analysis
Tradition
Optimization-Multi-Cut-2
Material Cost
Construction Cost
Total Cost

## Slide 42
Outline
Part 1
Objective
Part 2
Methodology
Part 3
Condition
Part 4
Seismic Verification

## Slide 43
10-#10
3-#10
12-#10
7-#8
12-#8
9-#8
Consider Ld
10-#10
3-#10
12-#10
7-#8
12-#8
9-#8

## Slide 44
Capacity Spectrum Method
Pushover Methods
Modal Pushover Analysis
Multi-Modes Combination
Mode Shape
Effective Mass
Chart: 
| 1 | 0.83840175705355646 | 0.58033451596553476 | 0.26365306639635078 | 0
Mode 1 | 16.5 | 12.5 | 8.5 | 4.5 | 0
Mode 2 | 16.5 | 12.5 | 8.5 | 4.5 | 0
Mode 3 | 16.5 | 12.5 | 8.5 | 4.5 | 0

## Slide 45
Capacity Spectrum Method
Notes: Low Seismic 12m 90.4%

## Slide 46
Modal Pushover Analysis – Mode1

## Slide 47
Modal Pushover Analysis – Mode2

## Slide 48
Multi-Modes Combination

## Slide 50
Step 2
Step 3
Step 5
Step 6

## Slide 51
Gravity Load
Forth Hinge
+
Gravity Load
Lateral Load

## Slide 52
Without Gravity Load
First Hinge

## Slide 53
Time History Analysis
Scaled to DBE, MCE
Story Drift
DBE < 1.5%
MCE < 2%
- Time History Response Spectrum
- DBE Spectrum
- MCE Spectrum

## Slide 54
Time History Analysis
Scaled to DBE, MCE
Story Drift
DBE < 1.5%
MCE < 2%

## Slide 55
DBE < 1.5%

## Slide 56
MCE < 2.0%

## Slide 57
Tradition DBE
Optimization DBE
Tradition MCE
Optimization MCE
Notes: DBE 1602 11.5
MCE 1116 15.5

## Slide 59
Incremental Dynamic Analysis
Single Time History Analysis
Incremental One
Single Static Analysis
Incremental SPO



## Slide 60
Pushover IDA Difference

## Slide 61
Non-Linear SPO
Elastic
Non-Negative

Equal Displacement
Negative
Softening


Match

## Slide 62
IM
Base Shear

## Slide 63
Capacity Spectrum Method

## Slide 64
Capacity Spectrum Method

## Slide 65
Limit-State
4% FEMA273

## Slide 66
IDA
Low Seismic 12m 90.4%
Log

## Slide 67
Conclusion
Objective
Reduce Rebar
Condition
Long Span
Low Seismic
Construction
Today or Future Cost
Verification
Capacity Close To Tradition

## Slide 68
01/2016
Introduction
02/2016
Market Overview
03/2016
Partnerships
05/2016
Beta
04/2016
Pre-Release
06/2016
Launch
Roadmap

## Slide 69
Mu
Consider Hundreds Of Combo Demand
Critical Demand Combo
Length(m)
Length(m)

## Slide 70
Design Moment - Mu
(1) U=1.4D
(2) U=1.2D + 1.6L
(3) U=1.2D + (1.0L or 0.5L)
(4) U=1.2D + 1.6W + (1.0L or 0.5L)
(5) U=1.2D + 1.0E + (1.0L or 0.5L)
(6) U=0.9D + 1.6W
(7) U=0.9D + 1.0E

## Slide 71
Design Moment - Mu
(1) U=1.4D
(2) U=1.2D + 1.6L
(3) U=1.2D + (1.0L or 0.5L)
(4) U=1.2D + 1.6W + (1.0L or 0.5L)
(5) U=1.2D + 1.0E + (1.0L or 0.5L)
(6) U=0.9D + 1.6W
(7) U=0.9D + 1.0E

## Slide 72
Procedure A
MIN
Simplified Provisions
General Development Length Equation

## Slide 73
Procedure A
MIN
Simplified Provisions
General Development Length Equation

## Slide 74
傳統梁鋼筋配置圖
最佳化梁鋼筋配置示意圖
Notes: LowSeismic 4Floor 12M 0