## Slide 1
MULTI-CUT-OFF REBAR
Advisor : Prof. K.C.Chang
Presenters : You-Ran Nai
Notes: Try 講清楚脈絡

## Slide 2
Today’s Solution
Fixed Bar-Cut
Max
Max
Max
Demand As
Design As
Notes: LowSeismic4Floor12M 0
加上座標

## Slide 3
Tradition
Demand As
Design As
大梁鋼筋配置標準圖
Notes: 欣銓 1140
加上座標

## Slide 4
REDUCE REBAR
Real
Demand
Before
After
After
Before
Notes: # 問題與目標
目前工程上斷筋處都固定在 1/3 或是 1/5 處
之所以這樣是為了施工上比較方便
但是這樣會有不經濟的問題產生
如果我們能做到根據需求來決定斷筋處
就能節省鋼筋的用量

## Slide 5
Mu
Consider Hundreds Of Combo Demand
Catch Critical Demand Combo

## Slide 6
Flexural Reinforcement
Min: 2 Rebar
Area of flexural reinforcement

## Slide 7
MIN
Simplified Provisions
General Development Length Equation
Development Length
Demand As
Development Length

## Slide 8
Combinations
0.1
0.9
漸進式退縮
0.1
0.45
0.55
0.9
多點
三段
As
Notes: GA 演算法

## Slide 9
Demand As
Development Length
Design As
梁撓曲鋼筋配置示意圖

## Slide 10
Simple Conclusion
Simplified Ld
Tradition
Multi-Cut
100%
Demand As
100%
Explicit Ld
Design As
80%
Demand As
91%
Design As
Notes: 11076

## Slide 11
Case Study
Development Length
Tradition
Multi-Cut 82%
Multi-Cut 91%
Tradition
Multi-Cut
Multi-Cut
Development Length
Notes: 傳統不經濟
828
傳統不保守 不符合 混凝土結構設計規範 401-100 R5.11.2
1140

## Slide 13
Vu
Vu
Notes: LowSeismic4Floor12M 0

## Slide 14
Shear Reinforcement
Vu
Notes: LowSeismic4Floor12M 0

## Slide 15
Notes: LowSeismic4Floor12M 0

## Slide 18
Gravity Load
Seismic Load
Moment Diagram

## Slide 19
Moment Decay
Short Ld
Beam Length
&
Notes: 下層筋都有可能
梁長影響 Moment Decay & Ld
LowSeismic4Floor12M 0

## Slide 20
11 Models
+
Notes: LowSeismic4Floor12M 0

## Slide 21
Model Assume
Notes: 混凝土強度越高效果越好
重力需考慮樓版

## Slide 22
Evaluation
Notes: 大部分是直通筋，不太準

## Slide 23
Evaluation
3
4
5
6
47.9s
3.9min
23.1min
2.0hr
12 支梁

## Slide 24
30m
20m
14F B3
TOP RESULT
OVERALL RESULT
BOT RESULT
101.0%
102.5%
99.2%
台北住宅案
Notes: 由於很複雜，先記得最終的結果
400

## Slide 25
TOP RESULT
OVERALL RESULT
BOT RESULT
77m
153m
9F B1
93.5%
92.4%
94.7%
高雄物流中心
Notes: 3500

## Slide 26
COST ANALYSIS
MATERIAL REDUCED COST
GIRDER USED
REDUCED PERCENTAGE
MATERIAL COST

## Slide 27
COST ANALYSIS
INCREASE
CONSTRUCTION COST
INCREASE WAGE
REDUCED
MATERIAL COST

## Slide 28
COST ANALYSIS

## Slide 29
Case Study

## Slide 30
Design Earthquake

## Slide 31
Design Earthquake

## Slide 32
Story Drift
0.32%

## Slide 33
Pushover Load Pattern
Inverted Triangle
Multi-Modes Combination
Modal Pushover Analysis
SRSS
Notes: 定義非線性驗證的邊界

## Slide 34
Hinges Only On Two Ends

## Slide 35
Step 3
Step 9

## Slide 36
Modal Pushover Analysis

## Slide 37
Multiple Hinges

## Slide 38
Modal Pushover Analysis

## Slide 39
Multi-Modes Combination

## Slide 40
Step 3
Step 5
Step 7
Step 8

## Slide 41
Pushover Result
Hinge
Notes: 比較 Ra, R 值
DBE, MCE 的性能績效點對應到 delta_u
雙線性化找到 delta_y,eff

## Slide 42
Pushover Result
ATC-40
耐震性能檢測 PGA

## Slide 43
Time history
Chart: 
| 0 | 0.16875000000000001 | 0.84375 | 0.94374999999999998 | 1.04375 | 1.14375 | 1.2437500000000001 | 1.3437500000000002 | 1.4437500000000003 | 1.5437500000000004 | 1.6437500000000005 | 1.7437500000000006 | 1.8437500000000007 | 1.9437500000000008 | 2.0437500000000006 | 2.1437500000000007 | 2.2437500000000008 | 2.3437500000000009 | 2.443750000000001 | 2.5437500000000011 | 2.6437500000000012 | 2.7437500000000012 | 2.8437500000000013 | 2.9437500000000014 | 3.0437500000000015 | 3.1437500000000016 | 3.2437500000000017 | 3.3437500000000018 | 3.4437500000000019 | 3.543750000000002 | 3.643750000000002 | 3.7437500000000021 | 3.8437500000000022 | 3.9437500000000023 | 4.043750000000002 | 4.1437500000000016 | 4.2437500000000012 | 4.3437500000000009 | 4.4437500000000005 | 4.5437500000000002 | 4.6437499999999998 | 4.7437499999999995 | 4.8437499999999991 | 4.9437499999999988 | 5.0437499999999984 | 5.143749999999998 | 5.2437499999999977
SaD | 0.32 | 0.8 | 0.8 | 0.71523 | 0.64671 | 0.59016 | 0.54271 | 0.50233 | 0.46753 | 0.43725 | 0.41065 | 0.3871 | 0.3661 | 0.34727 | 0.33028 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32
Tx | 0 | 0.70548
Ty | 0 | 0.70548
1.4Tcode | 0 | 0.8
Scaled to DBE, MCE
Story Drift
DBE < 1.5%
MCE < 2%

## Slide 44
Scaled

## Slide 45
DBE
MCE

## Slide 46
Hinges Only On Two Ends

## Slide 47
Multiple Hinges

## Slide 48
IDA
Limit-State
4% FEMA273
2.5% SEAOC 2000

## Slide 49
INTRODUCTION
SINGLE TIME-HISTORY ANALYSIS
INCREMENTAL ONE
SINGLE STATIC ANALYSIS
INCREMENTAL SPO



## Slide 50
NON-LINEAR SPO
ELASTIC
NON-NEGATIVE

EQUAL DISPLACEMENT
NEGATIVE
SOFTENING


MATCH

## Slide 51
Hinges Only On Ends

## Slide 52
Multiple Hinges

## Slide 53
Multiple Hinges
Hinges Only On Ends
0.014
0.017

## Slide 54
Normal Side

## Slide 55
Normal NoLd

## Slide 56
Normal Ld

## Slide 57
Nonlinear Hinge
Notes: 手做一次模型
開發程式 for etabs 2016
塑絞設定
  TEASPA
  SERCB
  遲滯迴圈

## Slide 58
Hinge
Third Hinge
+

## Slide 59
Hinge
Without Initial Conditions

## Slide 60
Pushover Load Pattern
Triangle
Multi-Modes Combination
Modal Pushover Analysis
SRSS
Notes: 定義非線性驗證的邊界

## Slide 61
Pushover Result
Hinge
Notes: 比較 Ra, R 值
DBE, MCE 的性能績效點對應到 delta_u
雙線性化找到 delta_y,eff

## Slide 62
Pushover Result
ATC-40
耐震性能檢測 PGA

## Slide 63
Time history
Chart: 
| 0 | 0.16875000000000001 | 0.84375 | 0.94374999999999998 | 1.04375 | 1.14375 | 1.2437500000000001 | 1.3437500000000002 | 1.4437500000000003 | 1.5437500000000004 | 1.6437500000000005 | 1.7437500000000006 | 1.8437500000000007 | 1.9437500000000008 | 2.0437500000000006 | 2.1437500000000007 | 2.2437500000000008 | 2.3437500000000009 | 2.443750000000001 | 2.5437500000000011 | 2.6437500000000012 | 2.7437500000000012 | 2.8437500000000013 | 2.9437500000000014 | 3.0437500000000015 | 3.1437500000000016 | 3.2437500000000017 | 3.3437500000000018 | 3.4437500000000019 | 3.543750000000002 | 3.643750000000002 | 3.7437500000000021 | 3.8437500000000022 | 3.9437500000000023 | 4.043750000000002 | 4.1437500000000016 | 4.2437500000000012 | 4.3437500000000009 | 4.4437500000000005 | 4.5437500000000002 | 4.6437499999999998 | 4.7437499999999995 | 4.8437499999999991 | 4.9437499999999988 | 5.0437499999999984 | 5.143749999999998 | 5.2437499999999977
SaD | 0.32 | 0.8 | 0.8 | 0.71523 | 0.64671 | 0.59016 | 0.54271 | 0.50233 | 0.46753 | 0.43725 | 0.41065 | 0.3871 | 0.3661 | 0.34727 | 0.33028 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32
Tx | 0 | 0.70548
Ty | 0 | 0.70548
1.4Tcode | 0 | 0.8
Scaled to DBE, MCE
Story Drift
DBE < 2%
MCE < 3%

## Slide 64
IDA
Limit-State
4% FEMA273
2.5% SEAOC 2000

## Slide 66
1D CUT

## Slide 67
INPUT
GEOMETRY
MATERIAL
SECTION
BEAM FORCE
2 MILLIONS
0.5 => 0.1
10 MILLIONS
E2K
DESIGN REBAR
30 THOUSANDS
- ACI 318-05

## Slide 68
MERGE
x <=
<= x <=
x =>
GRAPH
REBAR SIZE & NUM
REBAR LENGTH
STIRRUP SIZE & S
B & D & L
SUPPORT WIDTH
groupby a beam
while spacing < MIN_SPACING
UPGRADE SIZE
first calc SIZE & S
DROP DOUBLE SIZE
STIRRUP_REBAR = ['#4', '2#4', '2#5', '2#6']
STIRRUP_SPACING = [10, 12, 15, 18, 20, 25, 30]

## Slide 69
GRAPH
REBAR SIZE & NUM
REBAR LENGTH
STIRRUP SIZE & S
B & D & L
SUPPORT WIDTH
groupby a beam
while num > 2 * capacity
UPGRADE SIZE
first calc SIZE & NUM
CONSERVATIVE MERGE
x <=
<= x <=
x =>
Calc Ld
OPTIMIZATION ALGORITHM
FIRST RUN
TOP_BAR = ['#7', '#8', '#10']
DB_SPACING = 1.5

## Slide 70
一台梁
SAME SIZE

## Slide 71
GRAPH
REBAR SIZE & NUM
REBAR LENGTH
STIRRUP SIZE & S
B & D & L
SUPPORT WIDTH
groupby a beam
while num > 2 * capacity
UPGRADE SIZE
first calc SIZE & NUM
CONSERVATIVE MERGE
x <=
<= x <=
x =>
Calc Ld
OPTIMIZATION ALGORITHM
FIRST RUN
SECOND RUN
groupby 一台梁
while any size < max size
calc max SIZE & NUM
Calc Ld
OPTIMIZATION ALGORITHM

## Slide 72
GRAPH
REBAR SIZE & NUM
REBAR LENGTH
STIRRUP SIZE & S
B & D & L
SUPPORT WIDTH
POINT COORDINATES
CONCRETE SECTIONS
MIN
梁長 - MAX

## Slide 73
THE OTHER CASE
MORE THAN INITIAL REBAR
TOO CONSERVATIVE




NORMAL GRAVITY LOAD

## Slide 74
THE OTHER CASE
1/3
MAX
MAX
MAX
1/4
2/3
3/4
1/4
3/4


## Slide 75
Beam width, cover, Fy, Fyt, Fc’,
Rebar‘s Db, Stirrup’s Db,
Spacing, rebar number
MIN
SIMPLIFIED PROVISIONS
GENERAL DEVELOPMENT LENGTH EQUATION
DEVELOPMENT LENGTH


## Slide 76
Simplified Method
BEFORE
AFTER

## Slide 77
Precondition
Girder
Lateral Force(Earthquake, Wind)
Gravity Load(Dead, Live)
Earthquake Vertical Force
Lateral Earth Pressure Ground Water Pressure Or Pressure Of Bulk Materials

## Slide 78
Precondition
Boundary Condition
Fix-Fix
Pin-Pin
Fix-Pin
Fix-Free

## Slide 79
Top Algorithm
(1) U=1.4D
(2) U=1.2D + 1.6L
(3) U=1.2D + (1.0L or 0.5L)
(4) U=1.2D + 1.6W + (1.0L or 0.5L)
(5) U=1.2D + 1.0E + (1.0L or 0.5L)
(6) U=0.9D + 1.6W
(7) U=0.9D + 1.0E
Lateral
Force
Gravity Load
Initial Top Rebar

## Slide 80
Gravity Load
DL, LL, Band, Span
(1) U=1.4D
(2) U=1.2D + 1.6L
(3) U=1.2D + (1.0L or 0.5L)
(4) U=1.2D + 1.6W + (1.0L or 0.5L)
(5) U=1.2D + 1.0E + (1.0L or 0.5L)
(6) U=0.9D + 1.6W
(7) U=0.9D + 1.0E
保守估計
94%

## Slide 81
Algorithm
Change To
Rebar Number
Linear Add

## Slide 82
Beam width, cover, Fy, Fyt, Fc’,
Rebar‘s Db, Stirrup’s Db,
Spacing, rebar number
MIN
Simplified Provisions
General Development Length Equation
Development Length

## Slide 83
Algorithm
0.15~0.4
0.6~0.85
Finite Combinations
0.15~0.4
Avoid Extreme Situation
BEFORE
AFTER
Reduce To Three Points

## Slide 84
(1) U=1.4D
(2) U=1.2D + 1.6L
(3) U=1.2D + (1.0L or 0.5L)
(4) U=1.2D + 1.6W + (1.0L or 0.5L)
(5) U=1.2D + 1.0E + (1.0L or 0.5L)
(6) U=0.9D + 1.6W
(7) U=0.9D + 1.0E
Bottom Algorithm
Gravity Load
Lateral
Force
Different From Top
Initial Bot Rebar

## Slide 85
Gravity Load
DL, LL, Band, Span
(1) U=1.4D
(2) U=1.2D + 1.6L
(3) U=1.2D + (1.0L or 0.5L)
(4) U=1.2D + 1.6W + (1.0L or 0.5L)
(5) U=1.2D + 1.0E + (1.0L or 0.5L)
(6) U=0.9D + 1.6W
(7) U=0.9D + 1.0E
保守估計
119%

## Slide 86
Algorithm
Change To
Rebar Number
Linear Add

## Slide 87
Beam width, cover, Fy, Fyt, Fc’,
Rebar‘s Db, Stirrup’s Db,
Spacing, rebar number
MIN
Simplified Provisions
General Development Length Equation
Development Length

## Slide 88
Algorithm
Finite Combinations
0.15~0.4
Avoid Extreme Situation
Reduce To Three Points
0.15~0.4
0.6~0.85
BEFORE
AFTER

## Slide 89
Simplified Method
BEFORE
AFTER

## Slide 90
BEFORE
AFTER
CONSTRUCTION COST ASSESSMENT
=
+

## Slide 91
主筋 |  |  |  | 長度 |  | 
 | 左端 | 中央 | 右端 | 左端 | 中央 | 右端
上層 第一排 | 6-#10 | 5-#10 | 6-#10 | 33% | 29% | 38%
上層 第二排 | 2-#10 | 0 | 3-#10 |  |  | 
上層 第一排 | 0 | 0 | 0 | 19% | 57% | 24%
上層 第二排 | 6-#8 | 5-#8 | 7-#8 |  |  | 
主筋 |  |  | 
 | 左端 | 中央 | 右端
上層 第一排 | 6-#10 | 6-#10 | 6-#10
上層 第二排 | 2-#10 | 0 | 3-#10
上層 第一排 | 0 | 0 | 0
上層 第二排 | 6-#8 | 5-#8 | 7-#8
BEFORE
AFTER
Chart: 上層
初始斷筋 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 9 | 9 | 9 | 9 | 9 | 9 | 9
多點斷筋 | 8 | 8 | 7 | 6 | 5 | 5 | 4 | 3 | 2 | 2 | 2 | 2 | 3 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 9
多點斷筋 + 延伸長度 | 8 | 8 | 8 | 8 | 8 | 7 | 6 | 5 | 5 | 4 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 9 | 9 | 9 | 9
三點斷筋 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 5 | 5 | 5 | 5 | 5 | 5 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9
67%
90%
98%
Chart: 下層
初始斷筋 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 7 | 7 | 7 | 7 | 7 | 7 | 7
多點斷筋 | 6 | 6 | 5 | 5 | 4 | 4 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 4 | 5 | 5 | 6 | 7 | 7
多點斷筋 + 延伸長度 | 6 | 6 | 6 | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 7 | 7 | 7 | 7
三點斷筋 | 6 | 6 | 6 | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 7 | 7 | 7 | 7 | 7
86%
93%
94%

## Slide 92
RCAD

## Slide 93
Simple Conclusion
Simplified Ld
Tradition
Multi-Cut
100%
Demand As
100%
Explicit Ld
Design As
80%
Demand As
91%
Design As
Length(cm)
As(cm2)
Length(cm)
Notes: 高雄物流中心 11076