## Slide 1
Feasibility of Multi-Cut-Off Rebar
for Construction Application
Advisor : Prof. K.C.Chang
Presenters : You-Ran Nai
Notes: Try 講清楚脈絡

## Slide 2
Outline
Part 1
Objective
Part 2
Flexural Reinforcement Multi-Cut
Part 3
Condition
Part 4
Nonlinear Verification

## Slide 3
REDUCE REBAR
Real
Demand
Before
After
After
Before
As(cm2)
Beam Length(m)
梁用鋼量圖

## Slide 4
Today’s Solution
Fixed Bar-Cut
Max
Max
Max
- Demand As
- Design As
Notes: LowSeismic4Floor12M 0

## Slide 5
Tradition
- Demand As
- Design As
Notes: 欣銓 1140

## Slide 6
Max
Max
Max
- Demand As
- Design As
Notes: LowSeismic4Floor12M 0

## Slide 7
Mu
Consider Hundreds Of Combo Demand
Catch Critical Demand Combo

## Slide 8
Flexural Reinforcement
Min: 2 Rebar
- Demand As
Notes: LowSeismic 4Floor 12M 0

## Slide 9
MIN
Simplified Provisions
General Development Length Equation
- Demand As
- After Consider Ld As
Notes: LowSeismic 4Floor 12M 0

## Slide 10
Combinations
0.1
0.9
漸進式退縮
0.1
0.45
0.55
0.9
多點
三段
- Consider Ld As
Ln
Ln
- Consider Ld As
Notes: GA 演算法
LowSeismic 4Floor 12M 0

## Slide 11
Demand As
Consider Ld As
Design As
梁撓曲鋼筋配置示意圖
Notes: LowSeismic 4Floor 12M 0

## Slide 12
Case Study
- Consider Ld
- Tradition
Multi-Cut 82%
Multi-Cut 91%
- Tradition
- Multi-Cut
- Consider Ld
Length(cm)
Length(cm)
As(cm2)
As(cm2)
Notes: 傳統不經濟
828
傳統不保守 不符合 混凝土結構設計規範 401-100 R5.11.2
1140

## Slide 13
台北住宅案
高雄物流中心
- Demand As
- Consider Ld
- Multi-Cut
- Tradition As
Notes: LowSeismic4Floor12M 0

## Slide 14
Short Development Length
Demand As
Development Length
- Multi-Cut As
Tradition As
Beam Length
- Consider Ld As
Notes: LowSeismic4Floor12M 0

## Slide 15
Moment Decay
- Demand As
- Multi-Cut As
Tradition As
Notes: LowSeismic4Floor12M 0

## Slide 16
Gravity Load
Lateral Load
Moment Diagram
Lateral
Force
Gravity Load

## Slide 17
Moment Decay
Beam Length
Lateral
Force
Gravity Load

## Slide 18
11 Models
Notes: LowSeismic4Floor12M 0

## Slide 19
100.6%
94.2%
94.8%
98.1%
94.5%
90.4%
High Seismic
Low Seismic
整體優化結果
6m
9m
12m
Middle Seismic
99.6%
95.3%
93.6%

## Slide 20
Low Seismic
98.1%
94.5%
90.4%
High Seismic
100.6%
94.2%
94.8%
整體優化結果
6m
9m
12m
Middle Seismic
99.6%
95.3%
93.6%

## Slide 21
Low Seismic
99.5%
91.2%
86.0%
上層筋優化結果
6m
9m
12m
Middle Seismic
104.4%
96.0%
91.2%
High Seismic
103.4%
97.4%
94.9%

## Slide 22
Low Seismic
96.0%
99.4%
96.5%
下層筋優化結果
6m
9m
12m
Middle Seismic
91.9%
94.3%
97.2%
High Seismic
96.1%
89.0%
94.6%

## Slide 23
Why?
High Seismic
Low Seismic
Smaller Gravity 89%
Bigger Gravity 99%

## Slide 24
6
More Cut-Off
3
4
5
Unlimited
Notes: 理論最佳解

## Slide 25
30m
20m
14F B3
TOP RESULT
OVERALL RESULT
BOT RESULT
100.0%
101.3%
98.5%
台北住宅案
Notes: 由於很複雜，先記得最終的結果
400

## Slide 26
台北住宅案

## Slide 27
TOP RESULT
OVERALL RESULT
BOT RESULT
77m
153m
9F B1
93.4%
92.3%
94.7%
高雄物流中心
Notes: 3500

## Slide 28
高雄物流中心

## Slide 29
Cost Analysis
Material Reduced Cost
Girder Used
Reduced Percentage
Material Cost

## Slide 30
Cost Analysis
Increase
Construction Cost
Increase Wage
Reduced
Material Cost

## Slide 31
Cost Analysis

## Slide 32
Consider Ld

## Slide 33
Incremental Dynamic Analysis

## Slide 34
Pushover Load Pattern
Multi-Modes Combination
SRSS
Inverted Triangle
Modal Pushover Analysis
Mode Shape
Effective Mass
Notes: 定義非線性驗證的邊界

## Slide 35
Inverted Triangle
Low Seismic 12m 90.4%
Tradition
Multi-Cut

## Slide 36
Step 2
Step 3
Step 5
Step 7

## Slide 37
Gravity Load
Forth Hinge
+

## Slide 38
Without Gravity Load
First Hinge
Remove
Previous Case

## Slide 39
Time history Analysis
Scaled to DBE, MCE
Story Drift
DBE < 1.5%
MCE < 2%

## Slide 40
DBE < 1.5%
Tradition
Multi-Cut
Low Seismic 12m 90.4%

## Slide 41
MCE < 2.0%
Tradition
Multi-Cut
Low Seismic 12m 90.4%

## Slide 42
Tradition DBE
Multi-Cut DBE
Tradition MCE
Multi-Cut MCE
Notes: DBE 1602 11.5
MCE 1116 15.5

## Slide 43
Incremental Dynamic Analysis
Single Time History Analysis
Incremental One
Single Static Analysis
Incremental SPO



## Slide 44
Limit-State
4% FEMA273
2.5% SEAOC2000

## Slide 45
IDA
Low Seismic 12m 90.4%

## Slide 46
Conclusion
Objective
Reduce Rebar
Condition
Long Span
Low Seismic
Construction
Cost
Verification
Capacity Close To Tradition