## Slide 1
MULTI-CUT-OFF REBAR
Advisor : Prof. K.C.Chang
Presenters : You-Ran Nai
Notes: Try 講清楚脈絡

## Slide 2
Today’s Solution
Fixed Bar-Cut
Max
Max
Max
Demand As
Design As
Notes: LowSeismic4Floor12M 0

## Slide 3
Tradition
Demand As
Design As
大梁鋼筋配置標準圖
Notes: 欣銓 1140

## Slide 4
REDUCE REBAR
Real
Demand
Before
After
After
Before

## Slide 5
Outline
Part 1
Flexural Reinforcement
Part 2
Shear Reinforcement
Part 3
Condition
Part 4
Nonlinear Verification

## Slide 6
Mu
Consider Hundreds Of Combo Demand
Catch Critical Demand Combo

## Slide 7
Flexural Reinforcement
Min: 2 Rebar
Area of flexural reinforcement

## Slide 8
MIN
Simplified Provisions
General Development Length Equation
Development Length
Demand As
Add Ld As
Notes: 欣銓 1228

## Slide 9
Combinations
0.1
0.9
漸進式退縮
0.1
0.45
0.55
0.9
多點
三段
As
Ln
Ln
Notes: GA 演算法
LowSeismic 4Floor 12M 0

## Slide 10
Demand As
Development Length
Design As
梁撓曲鋼筋配置示意圖
Notes: LowSeismic 4Floor 12M 0

## Slide 11
Case Study
Development Length
Tradition
Multi-Cut 82%
Multi-Cut 91%
Tradition
Multi-Cut
Development Length
Length(cm)
Notes: 傳統不經濟
828
傳統不保守 不符合 混凝土結構設計規範 401-100 R5.11.2
1140

## Slide 12
Outline
Part 1
Flexural Reinforcement
Part 2
Shear Reinforcement
Part 3
Condition
Part 4
Nonlinear Verification

## Slide 14
Vu
Notes: LowSeismic4Floor12M 0

## Slide 15
Shear Reinforcement
Vu
Notes: LowSeismic4Floor12M 0

## Slide 16
Design Av
Demand Av
Consider Vc Demand
梁剪力鋼筋配置示意圖
Notes: LowSeismic4Floor12M 0

## Slide 17
Outline
Part 1
Flexural Reinforcement
Part 2
Shear Reinforcement
Part 3
Condition
Part 4
Nonlinear Verification

## Slide 18
台北住宅案
高雄物流中心
Demand As
Development Length
Multi-Cut As
Tradition As
Notes: LowSeismic4Floor12M 0

## Slide 19
Short Development Length
Demand As
Development Length
Multi-Cut As
Tradition As
Beam Length
Notes: LowSeismic4Floor12M 0

## Slide 20
Moment Decay
Demand As
Multi-Cut As
Tradition As
Notes: LowSeismic4Floor12M 0

## Slide 21
Gravity Load
Seismic Load
Moment Diagram
Lateral
Force
Gravity Load

## Slide 22
Moment Decay
Beam Length
Lateral
Force
Gravity Load

## Slide 23
11 Models
Notes: LowSeismic4Floor12M 0

## Slide 24
整體優化結果
Low Seismic
6m
9m
12m
98.1%
94.5%
90.4%
Middle Seismic
99.6%
95.3%
93.6%
High Seismic
100.6%
94.2%
94.8%

## Slide 25
整體優化結果
Low Seismic
6m
9m
12m
98.1%
94.5%
90.4%
Middle Seismic
99.6%
95.3%
93.6%
High Seismic
100.6%
94.2%
94.8%

## Slide 26
上層筋優化結果
Low Seismic
6m
9m
12m
99.5%
91.2%
86.0%
Middle Seismic
104.4%
96.0%
91.2%
High Seismic
103.4%
97.4%
94.9%

## Slide 27
上層筋優化結果
Low Seismic
6m
9m
12m
99.5%
91.2%
86.0%
Middle Seismic
104.4%
96.0%
91.2%
High Seismic
103.4%
97.4%
94.9%

## Slide 28
下層筋優化結果
Low Seismic
6m
9m
12m
96.0%
99.4%
96.5%
Middle Seismic
91.9%
94.3%
97.2%
High Seismic
96.1%
89.0%
94.6%

## Slide 29
Why?
High Seismic
Low Seismic
89%
99%
Smaller
Bigger

## Slide 30
箍筋優化結果
Low Seismic
6m
9m
12m
93.3%
94.1%
94.5%
Middle Seismic
96.6%
94.4%
93.9%
High Seismic
98.5%
92.0%
93.2%

## Slide 31
6
More Cut-Off
3
4
5
Unlimited
Notes: 理論最佳解

## Slide 32
6
More Cut-Off
3
4
5
Unlimited
Notes: 理論最佳解

## Slide 33
30m
20m
14F B3
TOP RESULT
OVERALL RESULT
BOT RESULT
100.1%
101.3%
98.5%
台北住宅案
Notes: 由於很複雜，先記得最終的結果
400

## Slide 34
Chart: 
| 0 | 0.26 | 1.3 | 1.4000000000000001 | 1.5000000000000002 | 1.6000000000000003 | 1.7000000000000004 | 1.8000000000000005 | 1.9000000000000006 | 2.0000000000000004 | 2.1000000000000005 | 2.2000000000000006 | 2.3000000000000007 | 2.4000000000000008 | 2.5000000000000009 | 2.600000000000001 | 2.7000000000000011 | 2.8000000000000012 | 2.9000000000000012 | 3.0000000000000013 | 3.1000000000000014 | 3.2000000000000015 | 3.3000000000000016 | 3.4000000000000017 | 3.5000000000000018 | 3.6000000000000019 | 3.700000000000002 | 3.800000000000002 | 3.9000000000000021 | 4.0000000000000018 | 4.1000000000000014 | 4.2000000000000011 | 4.3000000000000007 | 4.4000000000000004 | 4.5 | 4.5999999999999996 | 4.6999999999999993 | 4.7999999999999989 | 4.8999999999999986 | 4.9999999999999982
SaD | 0.24 | 0.6 | 0.6 | 0.55714 | 0.52 | 0.4875 | 0.45882 | 0.43333 | 0.41053 | 0.39 | 0.37143 | 0.35455 | 0.33913 | 0.325 | 0.312 | 0.3 | 0.28889 | 0.27857 | 0.26897 | 0.26 | 0.25161 | 0.24375 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24
Tx | 0 | 0.42576
Ty | 0 | 0.40774
1.4Tcode | 0 | 0.4392

## Slide 35
TOP RESULT
OVERALL RESULT
BOT RESULT
77m
153m
9F B1
93.4%
92.3%
94.7%
高雄物流中心
Notes: 3500

## Slide 37
Cost Analysis
Material Reduced Cost
Girder Used
Reduced Percentage
Material Cost

## Slide 38
Cost Analysis
Increase
Construction Cost
Increase Wage
Reduced
Material Cost

## Slide 39
Cost Analysis

## Slide 40
Outline
Part 1
Flexural Reinforcement
Part 2
Shear Reinforcement
Part 3
Condition
Part 4
Nonlinear Verification

## Slide 41
Consider Ld

## Slide 42
Hinge
Third Hinge
+

## Slide 43
Hinge
Without Initial Conditions

## Slide 45
Pushover Load Pattern
Multi-Modes Combination
SRSS
Inverted Triangle
Modal Pushover Analysis
Mode Shape
Effective Mass
Notes: 定義非線性驗證的邊界

## Slide 46
Inverted Triangle
Low Seismic 12m
Tradition
Multi-Cut

## Slide 47
Multi-Modes Combination
Multi-Cut

## Slide 48
Modal Pushover Analysis
Tradition
Mode1
Mode2

## Slide 49
Modal Pushover Analysis
Mode1
Mode2
Multi-Cut

## Slide 50
Step 3
Step 5
Step 7
Step 8
更新圖片

## Slide 51
Time history Analysis
Scaled to DBE, MCE
Story Drift
DBE < 1.5%
MCE < 2%

## Slide 52
DBE < 1.5%
Tradition
Multi-Cut
Low Seismic 12m

## Slide 53
MCE < 2.0%
Tradition
Multi-Cut
Low Seismic 12m

## Slide 54
DBE
MCE
更新圖片

## Slide 55
Incremental Dynamic Analysis
Single Time History Analysis
Incremental One
Single Static Analysis
Incremental SPO



## Slide 56
Non-Linear SPO
Elastic
Non-Negative

Equal Displacement
Negative
Softening


Match

## Slide 57
Limit-State
4% FEMA273
2.5% SEAOC2000

## Slide 58
IDA
Tradition
Multi-Cut
Low Seismic 12m

## Slide 59
IDA
Low Seismic 12m

## Slide 60
93.6%
Ra=1.54
R=1.72
inverted_triangle
Ra=1.51
R=1.69
Middle Seismic 12m

## Slide 61
Mid Multi
MMC
mmc
Ra=1.81
R=2.05

## Slide 62
Ra =
1.5765
R =
1.7719
Tradition

## Slide 63
Mid Multi
Multi
Ra =
1.5498
R =
1.7449