## Slide 1
MULTI-CUT-OFF REBAR
Advisor : Prof. K.C.Chang
Presenters : You-Ran Nai
Notes: Try 講清楚脈絡

## Slide 2
Today’s Solution
Fixed Bar-Cut
Max
Max
Max
Demand As
Design As
Notes: LowSeismic4Floor12M 0

## Slide 3
Tradition
Demand As
Design As
大梁鋼筋配置標準圖
Notes: 欣銓 1140

## Slide 4
REDUCE REBAR
Real
Demand
Before
After
After
Before

## Slide 5
Outline
Part 1
Flexural Reinforcement
Part 2
Shear Reinforcement
Part 3
Condition
Part 4
Nonlinear Verification

## Slide 6
Mu
Consider Hundreds Of Combo Demand
Catch Critical Demand Combo

## Slide 7
Flexural Reinforcement
Min: 2 Rebar
Area of flexural reinforcement

## Slide 8
MIN
Simplified Provisions
General Development Length Equation
Development Length
Demand As
Add Ld As
Notes: 欣銓 1228

## Slide 9
Combinations
0.1
0.9
漸進式退縮
0.1
0.45
0.55
0.9
多點
三段
As
Ln
Ln
Notes: GA 演算法
LowSeismic 4Floor 12M 0

## Slide 10
Demand As
Development Length
Design As
梁撓曲鋼筋配置示意圖
Notes: LowSeismic 4Floor 12M 0

## Slide 11
Case Study
Development Length
Tradition
Multi-Cut 82%
Multi-Cut 91%
Tradition
Multi-Cut
Development Length
Length(cm)
Notes: 傳統不經濟
828
傳統不保守 不符合 混凝土結構設計規範 401-100 R5.11.2
1140

## Slide 12
Outline
Part 1
Flexural Reinforcement
Part 2
Shear Reinforcement
Part 3
Condition
Part 4
Nonlinear Verification

## Slide 14
Vu
Notes: LowSeismic4Floor12M 0

## Slide 15
Shear Reinforcement
Vu
Notes: LowSeismic4Floor12M 0

## Slide 16
Design Av
Demand Av
Consider Vc Demand
梁剪力鋼筋配置示意圖
Notes: LowSeismic4Floor12M 0

## Slide 17
Outline
Part 1
Flexural Reinforcement
Part 2
Shear Reinforcement
Part 3
Condition
Part 4
Nonlinear Verification

## Slide 18
台北住宅案
高雄物流中心
Demand As
Development Length
Multi-Cut As
Tradition As
Notes: LowSeismic4Floor12M 0

## Slide 19
Short Development Length
Demand As
Development Length
Multi-Cut As
Tradition As
Beam Length
Notes: LowSeismic4Floor12M 0

## Slide 20
Moment Decay
Demand As
Multi-Cut As
Tradition As
Notes: LowSeismic4Floor12M 0

## Slide 21
Gravity Load
Seismic Load
Moment Diagram
Lateral
Force
Gravity Load

## Slide 22
Moment Decay
Beam Length
Lateral
Force
Gravity Load

## Slide 23
11 Models
Notes: LowSeismic4Floor12M 0

## Slide 24
整體優化結果
Low Seismic
6m
9m
12m
98.1%
94.5%
90.4%
Middle Seismic
99.6%
95.3%
93.6%
High Seismic
100.6%
94.2%
94.8%

## Slide 25
整體優化結果
Low Seismic
6m
9m
12m
98.1%
94.5%
90.4%
Middle Seismic
99.6%
95.3%
93.6%
High Seismic
100.6%
94.2%
94.8%

## Slide 26
上層筋優化結果
Low Seismic
6m
9m
12m
99.5%
91.2%
86.0%
Middle Seismic
104.4%
96.0%
91.2%
High Seismic
103.4%
97.4%
94.9%

## Slide 27
上層筋優化結果
Low Seismic
6m
9m
12m
99.5%
91.2%
86.0%
Middle Seismic
104.4%
96.0%
91.2%
High Seismic
103.4%
97.4%
94.9%

## Slide 28
下層筋優化結果
Low Seismic
6m
9m
12m
96.0%
99.4%
96.5%
Middle Seismic
91.9%
94.3%
97.2%
High Seismic
96.1%
89.0%
94.6%

## Slide 29
Why?
High Seismic
Low Seismic
89%
99%
Smaller
Bigger

## Slide 30
箍筋優化結果
Low Seismic
6m
9m
12m
93.3%
94.1%
94.5%
Middle Seismic
96.6%
94.4%
93.9%
High Seismic
98.5%
92.0%
93.2%

## Slide 31
6
More Cut-Off
3
4
5
Unlimited
Notes: 理論最佳解

## Slide 32
30m
20m
14F B3
TOP RESULT
OVERALL RESULT
BOT RESULT
100.0%
101.3%
98.5%
台北住宅案
Notes: 由於很複雜，先記得最終的結果
400

## Slide 33
台北住宅案

## Slide 34
TOP RESULT
OVERALL RESULT
BOT RESULT
77m
153m
9F B1
93.4%
92.3%
94.7%
高雄物流中心
Notes: 3500

## Slide 35
高雄物流中心

## Slide 36
Cost Analysis
Material Reduced Cost
Girder Used
Reduced Percentage
Material Cost

## Slide 37
Cost Analysis
Increase
Construction Cost
Increase Wage
Reduced
Material Cost

## Slide 38
Cost Analysis

## Slide 39
Outline
Part 1
Flexural Reinforcement
Part 2
Shear Reinforcement
Part 3
Condition
Part 4
Nonlinear Verification

## Slide 40
Consider Ld

## Slide 41
Hinge
Third Hinge
+
更新圖片

## Slide 42
Hinge
Without Initial Conditions
更新圖片

## Slide 44
Pushover Load Pattern
Multi-Modes Combination
SRSS
Inverted Triangle
Modal Pushover Analysis
Mode Shape
Effective Mass
Notes: 定義非線性驗證的邊界

## Slide 45
Inverted Triangle
Low Seismic 12m 90.4%
Tradition
Multi-Cut

## Slide 46
Step 2
Step 3
Step 5
Step 7

## Slide 47
Multi-Modes Combination
Multi-Cut

## Slide 48
Modal Pushover Analysis
Tradition
Mode1
Mode2

## Slide 49
Modal Pushover Analysis
Mode1
Mode2
Multi-Cut

## Slide 50
Time history Analysis
Scaled to DBE, MCE
Story Drift
DBE < 1.5%
MCE < 2%

## Slide 51
DBE < 1.5%
Tradition
Multi-Cut
Low Seismic 12m 90.4%

## Slide 52
MCE < 2.0%
Tradition
Multi-Cut
Low Seismic 12m 90.4%

## Slide 53
Tradition DBE
Multi-Cut DBE
Tradition MCE
Multi-Cut MCE
Notes: DBE 1602 11.5
MCE 1116 15.5

## Slide 54
Incremental Dynamic Analysis
Single Time History Analysis
Incremental One
Single Static Analysis
Incremental SPO



## Slide 55
Limit-State
4% FEMA273
2.5% SEAOC2000

## Slide 56
IDA
Tradition
Multi-Cut
Low Seismic 12m 90.4%

## Slide 57
IDA
Low Seismic 12m 90.4%

## Slide 58
Conclusion
Low Seismic
6m
9m
12m
98.1%
94.5%
90.4%
Middle Seismic
99.6%
95.3%
93.6%
High Seismic
100.6%
94.2%
94.8%