## Slide 1
Feasibility of Multi-Cut-Off Rebar
for Construction Application
Advisor : Prof. K.C.Chang
Presenters : You-Ran Nai
Notes: Try 講清楚脈絡

## Slide 2
Outline
Part 1
Objective
Part 2
Flexural Reinforcement Multi-Cut
Part 3
Condition
Part 4
Seismic Verification

## Slide 3
REDUCE REBAR
Real
Demand
梁用鋼量圖
- Tradition
- Multi-Cut-2
Top Rebar
Bottom Rebar
10-#10
3-#10
12-#10
7-#8
12-#8
9-#8
Notes: LowSeismic4Floor12M 0

## Slide 4
REDUCE REBAR
Real
Demand
梁用鋼量圖
- Tradition
- Multi-Cut-2
Top Rebar
Bottom Rebar
10-#10
3-#10
12-#10
7-#8
12-#8
9-#8
Notes: LowSeismic4Floor12M 0

## Slide 5
Today’s Solution
Fixed Bar-Cut
- Demand As
- Design As
Top Rebar
Bottom Rebar
10-#10
3-#10
12-#10
10-#8
12-#8
9-#8
Notes: LowSeismic4Floor12M 0

## Slide 6
Tradition
- Demand As
- Design As
Top Rebar
Bottom Rebar
Notes: 欣銓 1140

## Slide 7
Outline
Part 1
Objective
Part 2
Flexural Reinforcement Multi-Cut
Part 3
Condition
Part 4
Seismic Verification

## Slide 8
Mu
Consider Hundreds Of Combo Demand
Catch Critical Demand Combo
Length(m)
Length(m)

## Slide 9
Flexural Reinforcement
Min: 2 Rebar
- Demand As
Notes: LowSeismic 4Floor 12M 0

## Slide 10
MIN
Simplified Provisions
General Development Length Equation
- Demand As
- After Consider Ld As
Ld
Top
Bottom
Notes: LowSeismic 4Floor 12M 0

## Slide 11
Combinations
- Consider Ld As
- Consider Ld As
Multi-Cut
Multi-Cut-2
0.1
0.9
Ln
Ln
Top
Bottom
Notes: GA 演算法
LowSeismic 4Floor 12M 0

## Slide 12
- Demand As
- Consider Ld As
- Design As
梁撓曲鋼筋配置示意圖
Multi-Cut-2
Notes: LowSeismic 4Floor 12M 0

## Slide 13
Multi-Cut-2 vs Tradition
- Consider Ld
- Tradition
Multi-Cut-2 82%
Multi-Cut-2 91%
- Tradition
- Multi-Cut-2
- Consider Ld
Length(cm)
Length(cm)
As(cm2)
As(cm2)
Top
Bottom
Notes: 傳統不經濟
828
傳統不保守 不符合 混凝土結構設計規範 401-100 R5.11.2
1140

## Slide 14
Outline
Part 1
Objective
Part 2
Flexural Reinforcement Multi-Cut
Part 3
Condition
Part 4
Seismic Verification

## Slide 15
台北住宅案
高雄物流中心
- Demand
- Multi-Cut-2
- Tradition
Notes: LowSeismic4Floor12M 0

## Slide 16
Short Development Length
Ld
- Demand As
Beam Length
- Consider Ld As
Notes: LowSeismic4Floor12M 0

## Slide 17
Moment Decay
- Moment Demand As
- Moment Demand As
Large Slope
Small Slope
Notes: LowSeismic4Floor12M 0

## Slide 18
Gravity Load
Lateral Load
Moment Diagram
Lateral
Force
Gravity Load

## Slide 19
Moment Decay
Beam Length
Lateral
Force
Gravity Load

## Slide 20
11 Models
4.5m
4m
Notes: LowSeismic4Floor12M 0

## Slide 21
100.6%
94.2%
94.8%
98.1%
94.5%
90.4%
High Seismic
Low Seismic
整體優化結果
6m
9m
12m
Middle Seismic
99.6%
95.3%
93.6%
Beam Length
Site

## Slide 22
Low Seismic
98.1%
94.5%
90.4%
High Seismic
100.6%
94.2%
94.8%
整體優化結果
6m
9m
12m
Middle Seismic
99.6%
95.3%
93.6%
Beam Length
Site

## Slide 23
Low Seismic
96.0%
99.4%
96.5%
下層筋優化結果
6m
9m
12m
Middle Seismic
91.9%
94.3%
97.2%
High Seismic
96.1%
89.0%
94.6%
Beam Length
Site

## Slide 24
Why?
High Seismic
Low Seismic
Small Gravity 89%
Large Gravity 99%
Bottom
- Demand
- Multi-Cut-2
- Tradition
- Demand
- Multi-Cut-2
- Tradition
6-#8
5-#8
6-#8
7-#8
6-#8
5-#8
Notes: HighSeismic 4Floor 9M 12
LowSeismic 4Floor 9M 12

## Slide 25
5
More Multi-Cut
2
3
4
Unlimited
Notes: 理論最佳解

## Slide 26
30m
20m
14F B3
TOP RESULT
OVERALL RESULT
BOT RESULT
100.0%
101.3%
98.5%
台北住宅案
Notes: 由於很複雜，先記得最終的結果
400

## Slide 27
台北住宅案

## Slide 28
TOP RESULT
OVERALL RESULT
BOT RESULT
77m
153m
9F B1
93.4%
92.3%
94.7%
高雄物流中心
Notes: 3500

## Slide 29
高雄物流中心

## Slide 30
Material Cost
Reduced Percentage
資料來源: 公共工程價格資料庫 2019
Material Cost
Tradition
Multi-Cut

## Slide 31
Construction Cost
Tradition
Multi-Cut
鋼筋綁紮工資
資料來源: 台北市公共工程 2019
複雜度增加 => 鋼筋綁紮工資增加

## Slide 32
Cost Analysis
Tradition
Multi-Cut
Material Cost
Construction Cost
Total Cost

## Slide 33
Cost Analysis
Tradition
Multi-Cut
Material Cost
Construction Cost
Total Cost

## Slide 34
Cost Analysis
Tradition
Multi-Cut-2
Material Cost
Construction Cost
Total Cost
Multi-Cut-2

## Slide 35
Outline
Part 1
Objective
Part 2
Flexural Reinforcement Multi-Cut
Part 3
Condition
Part 4
Seismic Verification

## Slide 36
Consider Ld
10-#10
3-#10
12-#10
7-#8
12-#8
9-#8
10-#10
3-#10
12-#10
7-#8
12-#8
9-#8
Top
Bottom

## Slide 37
Hinges Only On Ends vs Multi-Hinges
Incremental Dynamic Analysis

## Slide 38
Pushover Method
Multi-Modes Combination
SRSS
Inverted Triangle
Modal Pushover Analysis
Mode Shape
Effective Mass
Notes: 定義非線性驗證的邊界

## Slide 39
Inverted Triangle
Low Seismic 12m 90.4%
Tradition
Multi-Cut-2

## Slide 40
Step 2
Step 3
Step 5
Step 7

## Slide 41
Gravity Load
Forth Hinge
+
Gravity Load
Lateral Load

## Slide 42
Without Gravity Load
First Hinge

## Slide 43
Time History Analysis
Scaled to DBE, MCE
Story Drift
DBE < 1.5%
MCE < 2%
- Time History Spectrum
- DBE Spectrum
- MCE Spectrum

## Slide 44
DBE < 1.5%
Tradition
Multi-Cut
Low Seismic 12m 90.4%

## Slide 45
MCE < 2.0%
Tradition
Multi-Cut
Low Seismic 12m 90.4%

## Slide 46
Tradition DBE
Multi-Cut DBE
Tradition MCE
Multi-Cut MCE
Notes: DBE 1602 11.5
MCE 1116 15.5

## Slide 47
Incremental Dynamic Analysis
Single Time History Analysis
Incremental One
Single Static Analysis
Incremental SPO



## Slide 48
Limit-State
4% FEMA273
2.5% SEAOC2000

## Slide 49
IDA
Low Seismic 12m 90.4%
Log

## Slide 50
Conclusion
Objective
Reduce Rebar
Condition
Long Span
Low Seismic
Construction
Today or Future Cost
Verification
Capacity Close To Tradition